## 20250515
descSPIM-Fullmoon was provided by Department of Basic Veterinary Science, Joint Faculty of Veterinary Medicine, Kagoshima University,
| descSPIM-Fullmoon ver. 260515 |  |  |  | Fullmoon
| Det. Optics | Notes |  | Part Number | Quantity
|  | CMOS camera ＊7 | Nikon | Digital Sight 50M | 1
|  | CMOS camera software ＊8 | Nikon | NIS-Elements | ＊
|  | 60 mm Cage Plate with Removable Filter Holder for Ø2" Optics, M4 Tap |  | LCFH2/M | 1
|  | Extra Filter Holder Insert for Ø2" Optics for use with LCFH2(/M) |  | LCFH2-F | 2
|  | 525nm CWL, 50mm Dia. Hard Coated OD 4.0 50nm Bandpass Filter ＊4-1 | Edmon | #86-963 | 1
|  | 575nm 50mm Dia., High Performance Longpass Filter ＊4-1 | Edmon | #84-751 | 1
|  | 675nm 50mm Dia., High Performance Longpass Filter ＊4-1 | Edmon | #84-753 | 1
|  | SM2 (2.035"-40) Coupler, External Threads, 1/2" Long |  | SM2T2 | 1
|  | Adapter with External SM2 Threads and Internal M52 x 0.75 Threads |  | SM2A52 | 1
|  | Filter Ring Adapter: 9pcs Step Up Rings + 9pcs Step Down Rings | K&D Concept | SKU0629 | 1
|  | 2x Telecentric Lens for Large Format, φ48mm ＊9 | Myutron | LSTL20H-F | ＊
|  | 1x Telecentric Lens for Large Format, φ48mm ＊9 | Myutron | LSTL10H-F | ＊
|  | 25 mm Travel Linear Translation Stage, Side-Mounted Micrometer, M6 x 1.0 Taps |  | XR25P/M | 1
|  | 25 mm Motorized Actuator with Ø3/8" Barrel (0.5 m Cable) |  | Z825B(Z925B) | 1
|  | K-Cube Brushed DC Servo Motor Controller (Power Supply Not Included) |  | KDC101 | 1
|  | K-Cube Power Supply, 15V 2.4A, Japan |  | KPS201 | 1
|  | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 30 mm ＊10 |  | TR30/M | 2
|  | Large V-Clamp with PM4/M Clamping Arm, 63.5 mm Long, Metric |  | VC3C/M | 1
|  | 66 mm Single Dovetail Rail with Mounting Counterbores, L = 250 mm |  | XT66SD-250 | 1
|  | Rail Carriage for 66 mm Rails with M4 & M6 Taps |  | XT66P2/M | 1
|  | Ø1/2" Post Spacer, 2 mm Thick, Qty. 5 |  | TR2M | 1
| Sample holder | Notes |  | Part Number | Quantity
|  | 150mm Long Rail for XR25 |  | XR25DR2 | 1
|  | Metric Linear Translation Platform, 25mm |  | XR25P/M | 2
|  | 25 mm Motorized Actuator with Ø3/8" Barrel (0.5 m Cable) |  | Z825B(Z925B) | 1
|  | K-Cube Brushed DC Servo Motor Controller (Power Supply Not Included) |  | KDC101 | 1
|  | K-Cube Power Supply, 15V 2.4A, Japan |  | KPS201 | 1
|  | 13mm Travel Manual Vertical Stage |  | MVS05/M | 1
|  | Dovetail Optical Rail, 300 mm, Metric |  | RLA300/M | 2
|  | High-Precision Rotation Stage, M6 and M4 Taps |  | PR01/M | 1
|  | Cage Assembly Rod, 2" Long, Ø6 mm, 4 Pack |  | ER2-P4 | 1
|  | Cage Assembly Rod, 4" Long, Ø6 mm, 4 Pack |  | ER4-P4 | 1
|  | Compact Cage Assembly Rod, 1.5" Long, Ø4 mm, 4 Pack |  | SR1.5-P4 | 1
|  | Blank 16 mm Cage Plate, 0.25" Thick, 4-40 and M3 Taps |  | SP01 | 1
|  | 30 mm to 16 mm Cage Adapter Plate, M4 Tap |  | SP15/M | 1
|  | 66 mm Construction Rail, L = 100 mm |  | XT66-100 | 1
|  | Vertical Mounting Plate for 34 mm & 66 mm Optical Rails |  | XT66P1 | 2
|  | Base Plate for Stages with 3" Dovetails, Metric Slot Spacing |  | XR25-B1/M | 1
|  | Rail Carriage for 66 mm Rails with M4 & M6 Taps |  | XT66P2/M | 1
| Ex. Optics | Notes |  | Part Number | Quantity
|  | Metric Threaded Cage Plate |  | CP33/M | 1
|  | SM1 to FC/APC Fiber Bulkhead Adapter ＊5 |  | SM1FCA | 1
|  | High Precision Translating Lens Mount for 1" Optics |  | CXY1A | 1
|  | f = 100 mm, Ø1" Achromatic Doublet, ARC: 400 - 700 nm |  | AC254-100-A | 1
|  | Metric SM1 Right Angle Kinematic Mirror Mount |  | KCB1EC/M | 3
|  | 1" Broadband Dielectric Elliptical Mirror, 400 - 750 nm |  | BBE1-E02 | 3
|  | f = 500.0 mm, Ø1", N-BK7 Mounted Plano-Convex Round Cyl Lens, ARC 350-700 |  | LJ1144RM-A | 2
|  | Ø12.7 mm Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=150 mm |  | PH150/M | 1
|  | Cage Assembly Rod, 4" Long, Ø6 mm, 4 Pack |  | ER4-P4 | 4
|  | Cage Assembly Rod, 2" Long, Ø6 mm, 4 Pack |  | ER2-P4 | 2
|  | Cage Assembly Rod, 3" Long, Ø6 mm, 4 Pack |  | ER3-P4 | 2
|  | Snap-On 30 mm Cage Mounting Bracket, #8 (M4) Slot |  | CPMA3 | 1
|  | Cage Assembly Rod, 10" Long, Ø6 mm |  | ER10 | 6
|  | Cage Assembly Rod, 6" Long, Ø6 mm, 4 Pack |  | ER6-P4 | 1
|  | Cage Assembly Rod, 1.5" Long, Ø6 mm, 4 Pack |  | ER1.5-P4 | 2
|  | Cage Assembly Rod, 1" Long, Ø6 mm, 4 Pack |  | ER1-P4 | 2
|  | Cage Assembly Rod, 1/4" Long, Ø6 mm |  | ER025 | 10
|  | 30 mm Cage Cube-Mounted Non-Polarizing Beamsplitter, 400 - 700 nm, M4 Tap |  | CCM1-BS013/M | 1
|  | Cage Rotation Mount for Ø1" Optics, SM1 Threaded, M4 Tap |  | CRM1T/M | 2
|  | SM1 Lens Tube, 0.30" Thread Depth, One Retaining Ring Included |  | SM1L03 | 2
|  | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 40 mm |  | TR40/M | 1
|  | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 50 mm |  | TR50/M | 7
|  | Snap-On 60 mm Cage Mounting Bracket, M4 Tap |  | LCPMA4/M | 5
|  | 60 mm Cage Mounting Bracket with M4 Captive Screw |  | LCP33C/M | 1
|  | 60 mm Cage Mounting Bracket |  | LCP33B | 2
|  | 1D Galvo 30 mm Cage System Mount |  | GCM001 | 2
|  | 1D Galvo System, Silver-Coated Mirror, PSU Not Included |  | GVS001 | 2
|  | 30 mm to 60 mm Cage Plate Adapter, 4 mm Thick |  | LCP4S | 4
|  | 4-40 Stainless Steel Cap Screw, 5/16" Long, 50 Pack |  | SH4S031 | 1
|  | 4-40 Stainless Steel Cap Screw, 3/16" Long, 50 Pack |  | SH4S019 | 1
|  | Precision Cage Rotation Mount with Micrometer Drive, Ø1" Optics, M4 Tap |  | CRM1PT/M | 2
|  | 60 mm Cage Mount for Cylindrical Lenses, M4 Tap |  | CYLCP/M(CYLCPA/M) | 2
|  | Adapter with External SM1 Threads and Internal SM30 Threads, 0.29" Long |  | SM1A16 | 2
|  | SM30 Lens Tube, 0.3" Thread Depth, One Retaining Ring Included |  | SM30L03 | 2
|  | Standard Retaining Rings |  | SM30RR | 2
|  | f = 29.99 mm, H = 20.00 mm, L = 22.0 mm, N-BK7 Plano-Convex Cylindrical Lens, Antireflection Coating: 350-700 nm |  | LJ1212L1-A | 2
|  | f = 129.99 mm, H = 30.00 mm, L = 32.0 mm, N-BK7 Plano-Convex Cylindrical Lens, Antireflection Coating: 350-700 nm |  | LJ1640L1-A | 2
|  | SM1 Series Alignment Disk |  | SM1A7 | 2
|  | Ø12.7 mm Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=75 mm |  | PH75/M | 6
|  | Right-Angle Kinematic Elliptical Mirror Mount with Smooth Cage Rod Bores, 60 mm Cage System and SM2 Compatible, M4 and M6 Mounting Holes |  | KCB2EC/M | 2
|  | 2" Broadband Dielectric Elliptical Mirror, 400 - 750 nm |  | BBE2-E02 | 2
| Others | Notes |  | Part Number | Quantity
|  | Aluminum Breadboard, 300 mm x 450 mm x 12.7 mm, M6 Taps |  | MB3045/M | 1
|  | Magnetic Laser Safety Screen, 200 mm x 75 mm, Metric Engraving |  | TPSM1/M | 1
|  | 15-Piece Balldriver and Hex Key Kit with Stand, Metric |  | TC3/M | 1
|  | M6 x 1.0 Stainless Steel Cap Screw, 10 mm Long, 25 Pack |  | SH6MS10 | 1
|  | M4 x 0.7 Stainless Steel Cap Screw, 6 mm Long, 50 Pack |  | SH4MS06 | 1
|  | M6 x 1.0 Stainless Steel Setscrew, 10 mm Long, 25 Pack |  | SS6MS10 | 1
|  | M6 x 1.0 Stainless Steel Nut, 50 Pack |  | N6MS010 | 1
|  | Cage Alignment Target | Sigmakoki | C30-TGP-17 | 2
|  | Cage Alignment Target | Sigmakoki | C60-TGP-32 | 2
| Besides Thorlabs | Multi-line laser ligh source (Cobolt skyra etc.) ＊6
Multi-line laser ligh source (Coherent OBIS, Cobolt 06 series etc.) ＊6
|  | M6 cap screw (60 mm-length) |  | e.g. TRUSCO PRO TOOL B44-0660 | -
|  | 4-side cleared BK7 cuvette (Opt. Length 10 mm or 20 mm; GL Science etc) |  | F10-G-10 or F10-G-20 (GL Science) | ＊
|  | 4-side cleared disposable cuvette (Opt. Length 10 mm; Thermo Fisher Scientific, Bio-Rad etc) |  | 14-955-129 (Thermo Fischer) 1702415 (Bio-Rad)
＊1 Other monochro cameras (Thorlabs or others) are acceptable accoding to desired FOV
＊2 The tube lens of 200 mm focal length with additional SM1L35 can be set for 2X magnification.
＊3 If you use the filter wheel (LTFW6; 50,755 JPY), SM1M05 should be exchange to SM1L05.
＊4-1 Filters should be selected by users
＊4−2 Filter holder is designed for >3.5 mm thickness. If thinner, SM1QU/SM1QTU can be used.
＊5 If FC/PC fiber, SM1FC can be used.
＊6 Sigle-mode fiber coupled laser light source
＊7 Other monochrome cameras (Nikon or others) are acceptable depending on the desired FOV and resolution. A camera equipped with a large sensor is recommended.
＊8 Required when using a NIKON camera. Any package that enables automated time-lapse imaging is acceptable.
＊9 Select according to the sample size. A 1× lens combined with a full-frame sensor camera can capture an area of approximately 18 mm × 12 mm, while a 2× lens can capture approximately 36 mm × 24 mm.
＊10 TR30/M-JP can also be used if modifying from descSPIM-basic.