## Sheet1
descSPIM-DeepSky was provided by Department of Applied Physics, Royal Institute of Technology, Stockholm, Sweden
descSPIM-DeepSky ver. 260519
| Assembly | Notes | Vendor | Part Number | Quantity
| General / Base | Optical breadboard, model not specified | Thorlabs | MBH4560/M | 1
| General / Base | M6 Cap screws | Thorlabs | HW-KIT2/M | 1
| General / Base | M4 Cap Screws | Thorlabs | HW-KIT1/M | 1
| Detection arm stage | 25 mm travel crossed-roller side-actuated translation stage | Thorlabs | XR25P/M | 1
| Detection arm stage | 25 mm motorized actuator with Ø3/8 in barrel | Thorlabs | Z825B | 1
| Detection arm stage | 66 mm single dovetail rail, L = 250 mm | Thorlabs | XT66SD-250 | 1
| Detection arm stage | Rail carriage for 66 mm rail with M4 and M6 taps | Thorlabs | XT66P2/M | 3
| Detection arm stage | Ø12.7 mm post holder, L = 30 mm | Thorlabs | PH30/M | 3
| Detection objective / filter slider | Detection objective | Thorlabs | MY10X-803 | 1
| Detection objective / filter slider | W26 x 0.706 internal to SM1 external thread adapter | Thorlabs | SM1A27 | 1
| Detection objective / filter slider | SM1 internal to SM2 external thread adapter | Thorlabs | SM2A6 | 1
| Detection objective / filter slider | 60 mm cage plate, 0.5 in thick | Thorlabs | LCP34/M | 1
| Detection objective / filter slider | Cage assembly rod, 2 in long | Thorlabs | ER2 | 2
| Detection objective / filter slider | Ø12.7 mm optical post, L = 40 mm | Thorlabs | TR40/M | 3
| Detection objective / filter slider | SM1-threaded 30 mm to 60 mm cage plate adapter, 0.5 in thick | Thorlabs | LCP33/M | 1
| Detection objective / filter slider | Cage assembly rod, 1 in long | Thorlabs | ER1 | 12
| Detection objective / filter slider | Filter slider | Thorlabs | ELL9 | 1
| Detection objective / filter slider | SM1 lens tube for filters | Thorlabs | SM1L03 | 4
| Detection objective / filter slider | Chromatic / emission filters for filter slider
| Tube lens / camera | 30 mm cage plate | Thorlabs | CP33/M | 3
| Tube lens / camera | SM1 external to SM2 internal thread adapter | Thorlabs | SM1A2 | 2
| Tube lens / camera | 0.5 in SM2 lens tube | Thorlabs | SM2L05 | 2
| Tube lens / camera | f = 200 mm tube lens | Thorlabs | TTL200-A | 1
| Tube lens / camera | 3 in SM2 lens tube | Thorlabs | SM2L30 | 1
| Tube lens / camera | SM1 coupler | Thorlabs | SM1T10 | 1
| Tube lens / camera | 0.5 in SM1 lens tube, listed in manual as SM1L03 | Thorlabs | SM1L03 | 1
| Tube lens / camera | Kiralux 8.9 MP monochrome CMOS camera | Thorlabs | CS895MU | 1
| Assembly | Notes | Vendor | Part Number | Quantity
| Sample stage | 3 in dovetail rail for XR25 | Thorlabs | XR25DR2 | 1
| Sample stage | 25 mm travel crossed-roller side-actuated translation stage | Thorlabs | XR25P/M | 1
| Sample stage | 25 mm motorized actuator with Ø3/8 in barrel | Thorlabs | Z825B | 1
| Sample stage | Self-contained XYZ 25 mm translation stage | Thorlabs | LX30/M | 1
| Sample stage | Ø25 mm pillar post, L = 25 mm | Thorlabs | RS25/M | 4
| Sample stage | Mounting base used as cuvette ledge | Thorlabs | BA1/M | 1
| Sample stage | Microscope slide spring clip | Thorlabs | MAX3SLH | 1
| Sample stage | Internal M4 x 0.7 to external M6 x 1.0 thread adapter | Thorlabs | AE4M6MS | 1
| Assembly | Notes | Vendor | Part Number | Quantity
| Illumination arm stage | 25 mm travel crossed-roller side-actuated translation stage | Thorlabs | XR25P/M | 2
| Illumination arm stage | 66 mm single dovetail rail, L = 500 mm | Thorlabs | XT66SD-500 | 1
| Illumination arm stage | Rail carriage for 66 mm rail with M4 and M6 taps | Thorlabs | XT66P2/M | 4
| Illumination arm stage | Ø12.7 mm post holder, L = 30 mm | Thorlabs | PH30/M | 3
| Illumination arm stage | Ø12.7 mm pedestal post holder | Thorlabs | PH30E/M | 1
| Illumination arm stage | Clamping fork | Thorlabs | CF038-P5 | 1
| Fiber / cylindrical lens assembly | Cage assembly rod, 4 in long | Thorlabs | ER4 | 7
| Fiber / cylindrical lens assembly | XY-adjustable lens mount | Thorlabs | CXY1A | 1
| Fiber / cylindrical lens assembly | f = 50 mm achromatic collimating lens | Thorlabs | AC254-050-A | 1
| Fiber / cylindrical lens assembly | SM1 fiber adapter / fiber mount | Thorlabs | SM1FC2 | 1
| Fiber / cylindrical lens assembly | Single-mode fiber from laser combiner |  |  | 1
| Fiber / cylindrical lens assembly | 30 mm cage plate | Thorlabs | CP33/M | 3
| Fiber / cylindrical lens assembly | 30 mm cage-compatible adjustable pinhole | Thorlabs | CP20D | 1
| Fiber / cylindrical lens assembly | 30 mm cage-system adjustable slit | Thorlabs | VA100CP/M | 1
| Fiber / cylindrical lens assembly | Right-angle kinematic elliptical mirror mount | Thorlabs | KCB1EC/M | 2
| Fiber / cylindrical lens assembly | Elliptical broadband dielectric mirror | Thorlabs | BBE1-E02 | 2
| Fiber / cylindrical lens assembly | Cage assembly rod, 3 in long | Thorlabs | ER3 | 3
| Fiber / cylindrical lens assembly | Cage-compatible rotation mount | Thorlabs | CRM1PT/M | 1
| Fiber / cylindrical lens assembly | Frosted alignment disk | Thorlabs | DG10-1500-H1-MD | 1
| Fiber / cylindrical lens assembly | f = 50 mm cylindrical lens | Thorlabs | ACY254-050-A | 1
| Fiber / cylindrical lens assembly | SM1 lens tube for cylindrical lens | Thorlabs | SM1L10 | 1
| Fiber / cylindrical lens assembly | Shear plate for collimation check, exact model not specified | Thorlabs | SI100 | 1
| Illumination cage assembly | 500 mm cage rods | Thorlabs | Combination ER | 3
| Illumination cage assembly | 30 mm cage plate | Thorlabs | CP33/M | 4
| Illumination cage assembly | XY-adjustable lens mount | Thorlabs | CXY1A | 2
| Illumination cage assembly | Cage assembly rod, 8 in long | Thorlabs | ER8 | 1
| Illumination cage assembly | Cage assembly rod, 10 in long | Thorlabs | ER10 | 1
| Illumination cage assembly | Ø12.7 mm optical post, L = 40 mm | Thorlabs | TR40/M | 3
| Illumination cage assembly | Ø12.7 mm optical post, L = 75 mm | Thorlabs | TR75/M | 2
| Illumination cage assembly | M4-to-M6 adapter, exact model not specified | Thorlabs | Not specified | 2
| Illumination cage assembly | Snap-on 30 mm cage mounting bracket | Thorlabs | CPMA3 | 2
| Illumination cage assembly | Alternative cage mounting bracket mentioned in manual | Thorlabs | CP33B | 2
| Illumination cage assembly | Galvo mirror system | Thorlabs | GVS211/M | 1
| Illumination cage assembly | Ø12.7 mm optical post, L = 30 mm | Thorlabs | TR30/M | 1
| Illumination cage assembly | 30 mm cage alignment plate | Thorlabs | CPA1 | 2
| Illumination cage assembly | Slip-on optical post collar | Thorlabs | R2 | 1
| Illumination cage assembly | f = 200 mm achromatic lens | Thorlabs | AC254-200-A | 1
| Illumination cage assembly | Illumination objective, model not specified | Thorlabs | TL2X-SAP | 1
| Illumination cage assembly | Alignment cross, exact model not specified | Thorlabs | CPA1 | 2
| Assembly | Notes | Vendor | Part Number | Quantity
| Electrical / control | K-Cube brushed DC servo controller for camera/sample motorized stages | Thorlabs | KDC101 | 2
| Electrical / control | K-Cube power supply, listed in manual as KSP101 | Thorlabs | KSP201 | 2
| Electrical / control | Galvo power supply / driver, normally associated with GVS211/M | Thorlabs | GPS011 | 1
| Electrical / control | Laser system / combiner | Cobolt | Skyra | 1
| Electrical / control | Computer for microscope control |  |  | 1
| Software / control | Thorlabs Kinesis software | Thorlabs | Kinesis | 1
| Software / control | Thorlabs ELLO software for ELL9 | Thorlabs | ELLO | 1
| Software / control | Thorlabs ThorCam software | Thorlabs | ThorCam | 1
| Software / control | Cobolt Monitor software, if using Cobolt laser system | Cobolt | Cobolt Monitor | 1
| Software / control | Mission Control Center software | descSPIM-Advanced | MCC | 1